	
[image: image1.png]



	ASME A17.1 Category 1 Periodic Escalator/Moving Walk Tests
	City of Madison Fire Dept.
Elevator Inspection Unit
30 W Mifflin St, 9th flr
Madison WI 53703-2579
Phone: (608) 266-5909
Fax: (608) 267-1153
www.madisonfire.org


Instructions:  Please TYPE or PRINT CLEARLY the information requested on this form.
Personal information you provide may be used for secondary purposes [Privacy Law, s.15.04(1)(m)]
	Building Name
     
	Owner Name
     
	Registration Tag No.

     

	Street Address
     
	Address
     
	Regulated Object ID
     

	City, State, Zip
     
	City, State, Zip
     
	Manufacturer
     

	1
	Rated Speed      
	Capacity       
	Normal Direction Of Travel:     Up     Down 

	2
	ASME A17.1 8.6.8.15.19 Step/Skirt Performance Index: The escalator skirt shall not be cleaned, lubricated, or otherwise modified in preparation for testing. The escalator instantaneous step/ skirt index measurements shall be recorded at intervals no larger than 150 mm (6 in.) from each side of two distinct steps along the inclined portion of the escalator, where the steps are fully extended. Test steps shall be separated by a minimum of 8 steps.

	         
	Step 1: Left       Right:            Step 2: Left       Right      
	Skirt Deflectors:  Yes  No 

	3
	ASME A17.1 8.6.8.15.20 Clearance Between Step and Skirt (Loaded Gap): Loaded gap measurements shall be taken at intervals not exceeding 300 mm (12 in.) in transition region (6.1.3.6.5) and before the steps are fully extended. These measurements shall be made independently on each side of the escalator. (Units Contracted After 3/31/2004)

	
	Top Landing: Left       Right          Bottom Landing: Left       Right      

	4
	ASME A17.1 8.6.8.15  Additional Tests:            

	
	
	   OK  Fail  n/a  
	     OK  Fail  n/a

	Controller and Wiring
	
	
	
	Drive Machine And Brake
	
	
	

	Speed Governor
	
	
	
	Broken Drive-Chain Device
	
	
	

	Reversal Stop Switch
	
	
	
	Broken Step-Chain Or Treadway Device
	
	
	

	Step Upthrust Device
	
	
	
	Missing Step Or Pallet Device
	
	
	

	Step Or Pallet Level Device
	
	
	
	Handrail Safety Systems
	
	
	

	Permissible Stretch in Escalator Chains   (not to exceed 6 mm (0.25 in.)
	
	
	
	Disconnected Motor Safety Device 
	
	
	

	Response To Smoke Detectors  
	
	
	
	Comb-Step, Comb-Pallet Impact Device 
	
	
	

	Skirt Obstruction Devices
	
	
	
	Step, Pallet, Chain And Trusses
	
	
	

	Comments:      

	     

	5
	ASME A17.1 Requirement 8.6.1.7.2: A metal test tag with the test date the requirement number requiring the test and the name of the person or firm performing the test shall be installed in each machine room. Tests shall also be recorded in the Maintenance Record.

	The Above Tests Were Performed In Compliance With ASME A17.1 and DSPS 18

	Firm Performing Test  
       
	Address
     
	City, State, Zip
     
	Date of Test   
     

	Name and License Number of Person Performing Test (Print)
     
	Signature of Person Performing Test


Reports Shall Be Filed With the Madison Fire Department Within 15 (Fifteen) Days of Performing Test.
_1436693028.bin

