## Item Lists
REPLACEMENT OF BOOSTER PUMPS AND ASSOCIATED PIPING/APPURTENANCES AT UNIT WELLS 12 & 26
CONTRACT NO. 9228
DATE: 9/29/22
Monona Plumbing and Fire Protection, Inc.
Item | Quantity | Price | Extension
Section B: Proposal Page
10911a - Mobilization at Unit Well 12 - LUMP SUM | 1 | 1500 | 1500
90000 - Removal of Unit Well 12 existing pump and associated piping/fittings/ancillaries as shown on plans; installation of 200 HP Fairbanks Split Case Centrifugal Booster Pump and motor (supplied by MWU); installation of new piping/fittings/ancillaries (supplied by Contractor) as specified and illustrated in the attached drawings and pump manufacturer setting plans and documents. - LUMP SUM | 1 | 73239 | 73239
10911b - Mobilization at Unit Well 26 - LUMP SUM | 1 | 1500 | 1500
90001 - 90001 - Removal of Unit Well 26 existing pump and associated piping/fittings/ancillaries as shown on plans; installation of 100 HP Fairbanks Split Case Centrifugal Booster Pump and motor (supplied by MWU); installation of new piping/fittings/ancillaries (supplied by Contractor) as specified and illustrated in the attached drawings and pump manufacturer setting plans and documents. - LUMP SUM | 1 | 78935 | 78935
4 Items | Totals |  | 155174