CITY INSPECTION OF FACILITIES’ PROEJCTS WITH SITE CIVIL IMPROVEMENTS:

Grading, concrete flatwork, paving, utility connections/installs, storm water management, shall be inspected by Engineering, Water Utility, and or Building Inspection staff.

Not all Facilities Projects deal with these issues. In order to notify Construction Inspection the procedure is as follows. Building Inspection staff and Water Utility Inspection staff will perform their inspections as a normal course of their duties.

City Engineering Construction Inspection Involvement:

1. When a Facilities project involves site work, at the time that you are advertising, send the

Construction Engineer a set of plans and specs – with a request for Construction Inspection Staff to be involved as part of site Civil construction work.

1. Invite the Construction Engineer to the pre-construction meeting. The assigned Engineering Inspector shall attend that meeting.
2. The assigned Engineering inspector and Construction Engineer shall be included in project communications that deal with site improvements as listed above – during the construction phase.